## Report
CATALYST PAPER - Port Alberni Division
2022-06-09
5km Center | [6 empty] | Polly's Point 2
Depth | Salinity | Temp. |  | D.O.Corrected |  |  | Depth | Salinity | Temp. |  | D.O.Corrected |  | Winklers | Winklers
(meters) | ppt | °C | pH | mg/L | % Sat. |  | (meters) | ppt | °C | pH | mg/L | % Sat. | mg/L | +/-
0 | [6 empty] | 0 | 0.64 | 13.64 |  | 10.75 | 107.1% | -
1 | [6 empty] | 1 | 0.73 | 13.68 |  | 10.74 | 107.1% |  | 10.74
2 | [6 empty] | 2 | 0.9 | 13.43 |  | 10.81 | 107.3%
3 | [6 empty] | 3 | 0.98 | 13.44 |  | 10.82 | 107.5% | -
4 | [6 empty] | 4 | 15.18 | 12.48 |  | 9.9 | 104.7% | -
5 | [6 empty] | 5 | 28.46 | 10.68 |  | 9.57 | 105.8% | -
6 | [6 empty] | 6 | 29.29 | 10.33 |  | 9.07 | 100% | -
7 | [6 empty] | 7 | 29.71 | 10.19 |  | 8.57 | 94.49% | -
8 | [6 empty] | 8 | 29.83 | 10.11 |  | 8.18 | 90.09% | -
9 | [6 empty] | 9 | 29.91 | 10.01 |  | 7.9 | 86.86% | -
10 | [6 empty] | 10 | 30.39 | 9.82 |  | 6.55 | 71.93% |  | 6.55
12 | [6 empty] | 12 | 30.79 | 9.66 |  | 4.87 | 53.43% | -
15 | [6 empty] | 15 | 31.11 | 9.56 |  | 4.67 | 51.23%
20 | [6 empty] | 20 | 31.54 | 9.42 |  | 3.84 | 42.11% |  | 3.84
25 | [6 empty] | 25 | 31.8 | 9.29 |  | 3.2 | 35.04%
30 | [6 empty] | 30 | [5 empty] | - | 0%
35 | [6 empty] | 35 | [6 empty] | 0%
40 | [6 empty] | *Bottom
45 | [6 empty] | Sample Time: | 9:45 | PDT
50 | [6 empty] | Comments: | Cloudy; Rain; Calm waters; No wind
End of cable | [7 empty] | No Winklers due to weather
Sample Time: | 9:40 | PDT
Comments: | Cloudy; Rain; Calm waters; No wind
Ashley & Dylan
Using charter boat (Greg Pilgrim)
No 5km due to time contraints
River/Outfall | [6 empty] | Hohm Island 2 | [6 empty] | Winklers
Depth | Salinity | Temp. |  | D.O.Corrected |  |  | Depth | Salinity | Temp. |  | D.O.Corrected |  | Winklers | +/-
(meters) | ppt | °C | pH | mg/L | % Sat. |  | (meters) | ppt | °C | pH | mg/L | % Sat. | mg/L
River: | 0.02 | 12.48 |  | 10.48 | 101.5% |  | 0 | 0.42 | 12.77 |  | 10.61 | 103.6% | - | 10.63
0 | 0.5 | 13.23 |  | 10.63 | 104.9% |  | 1 | 0.69 | 12.67 |  | 10.63 | 103.7%
1 | 0.67 | 12.74 |  | 11.03 | 107.8% |  | 2 | 0.91 | 12.86 |  | 10.98 | 107.7% | -
2 | 2.05 | 12.37 |  | 10.99 | 107.4% |  | 3 | 26.71 | 11.23 |  | 9.68 | 107.1% | -
3 | 10.57 | 11.84 |  | 10.56 | 107.1% |  | 4 | 28.57 | 10.68 |  | 9.85 | 109% | -
4 | 27.47 | 11 |  | 9.46 | 104.7% |  | 5 | 29.21 | 10.39 |  | 9.77 | 107.9% | -
5 | 28.21 | 10.78 |  | 8.99 | 99.46% |  | 6 | 29.45 | 10.26 |  | 9.38 | 103.4% | -
6 | 29.01 | 10.48 |  | 8.93 | 98.65% |  | 7 | 29.64 | 10.15 |  | 8.99 | 98.98% | -
7 | 29.35 | 10.32 |  | 8.69 | 95.86% |  | 8 | 29.83 | 10.09 |  | 8.7 | 95.78% | -
8 | 29.71 | 10.14 |  | 8.14 | 89.64% |  | 9 | 30.03 | 9.98 |  | 7.7 | 84.67% | - | 7.43
9 | 29.82 | 10.08 |  | 7.63 | 83.97% |  | 10 | 30.65 | 9.72 |  | 7.43 | 81.55%
10 | 30.07 | 9.95 |  | 7.12 | 78.26% |  | 12 | 31.11 | 9.59 |  | 6.83 | 74.97% | - | 0
12 | 30.51 | 9.78 |  | 6.63 | 72.8% |  | 15 | [6 empty] | 0
15 | [6 empty] | 20
[7 empty] | 25 | [5 empty] | - | 0%
*Bottom | [6 empty] | *Bottom | [5 empty] | - | 0%
Sample Time: | 10:25 | PDT |  |  |  |  | Sample Time: | 10:10 | PDT
Comments: | Cloudy; Rain; Calm waters; No wind | [5 empty] | Comments: | Cloudy; Rain; Calm waters; Slight breeze
Some small pibs of foam seen by plume/outfall area
[6 empty] | Tide (m) | Time
[5 empty] | High: | 2.9 | 20:20 | PST
[5 empty] | Low: | 1 | 13:45 | PST
[5 empty] | Somass Flow: | Not Available
[5 empty] | Meter Used: | Eureka Manta 2
Tides: | 11.1 | ft | 5.6 | ft
| 0.3048 | factor | 0.3048 | factor |  |  |  |  | Temp |  | D.O.
| 3.3833 | m | 1.7069 | m |  |  |  | Critical Values: | 20 | 0 | 0
|  | Secchi Disk: | na
*end of rope
*44.1
*end of rope
*end of rope
Note on B2: Enter sampling date here. Date Format: dd-mmm-yy, or dd/mm/yy, or mmm dd, yy or for today's date, use <CTRL>; (i.e. hold CTRL-key down and type the semi-colon)
Note on J24: Format: hh:mm, or hh:mm PM
Note on C27: Format: hh:mm, or hh:mm PM
Note on C51: Format: hh:mm, or hh:mm PM
Note on J51: Format: hh:mm, or hh:mm PM
Note on I57: Format: hh:mm, or hh:mm PM
Note on I58: Format: hh:mm, or hh:mm PM

## DataAssembly
Project_No | Agency_Code | StationID | StationCd | SampleTime | Time | Zone | Depth | SalinityPPT | WaterTempC | pH | DO_Conc | DO_Sat | DateTime | Comment | Meter Unit
PY5901 | 901 | 0 | PASR | 2022-06-09 | 10:25 | PDT | 0 | 0.02 | 12.48 |  | 10.48 | 101.5% | 2022-06-09 10:25 | River: Flow = Not Available | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 0 | 0.5 | 13.23 |  | 10.63 | 104.9% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 1 | 0.67 | 12.74 |  | 11.03 | 107.8% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 2 | 2.05 | 12.37 |  | 10.99 | 107.4% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 3 | 10.57 | 11.84 |  | 10.56 | 107.1% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 4 | 27.47 | 11 |  | 9.46 | 104.7% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 5 | 28.21 | 10.78 |  | 8.99 | 99.46% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 6 | 29.01 | 10.48 |  | 8.93 | 98.65% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 7 | 29.35 | 10.32 |  | 8.69 | 95.86% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 8 | 29.71 | 10.14 |  | 8.14 | 89.64% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 9 | 29.82 | 10.08 |  | 7.63 | 83.97% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 10 | 30.07 | 9.95 |  | 7.12 | 78.26% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 12 | 30.51 | 9.78 |  | 6.63 | 72.8% | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 1 | PAOUT | 2022-06-09 | 10:25 | PDT | 15 | [5 empty] | 2022-06-09 10:25 | Outfall: Cloudy; Rain; Calm waters; No wind Some small pibs of foam seen by plume/outfall area | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 0 | 0.42 | 12.77 |  | 10.61 | 103.6% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 1 | 0.69 | 12.67 |  | 10.63 | 103.7% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 2 | 0.91 | 12.86 |  | 10.98 | 107.7% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 3 | 26.71 | 11.23 |  | 9.68 | 107.1% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 4 | 28.57 | 10.68 |  | 9.85 | 109% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 5 | 29.21 | 10.39 |  | 9.77 | 107.9% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 6 | 29.45 | 10.26 |  | 9.38 | 103.4% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 7 | 29.64 | 10.15 |  | 8.99 | 98.98% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 8 | 29.83 | 10.09 |  | 8.7 | 95.78% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 9 | 30.03 | 9.98 |  | 7.7 | 84.67% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 10 | 30.65 | 9.72 |  | 7.43 | 81.55% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 12 | 31.11 | 9.59 |  | 6.83 | 74.97% | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 15 | [5 empty] | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 20 | [5 empty] | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 2 | PAHI2 | 2022-06-09 | 10:10 | PDT | 25 | [5 empty] | 2022-06-09 10:10 | Hohm: Cloudy; Rain; Calm waters; Slight breeze | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 0 | 0.64 | 13.64 |  | 10.75 | 107.1% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 1 | 0.73 | 13.68 |  | 10.74 | 107.1% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 2 | 0.9 | 13.43 |  | 10.81 | 107.3% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 3 | 0.98 | 13.44 |  | 10.82 | 107.5% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 4 | 15.18 | 12.48 |  | 9.9 | 104.7% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 5 | 28.46 | 10.68 |  | 9.57 | 105.8% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 6 | 29.29 | 10.33 |  | 9.07 | 100% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 7 | 29.71 | 10.19 |  | 8.57 | 94.49% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 8 | 29.83 | 10.11 |  | 8.18 | 90.09% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 9 | 29.91 | 10.01 |  | 7.9 | 86.86% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 10 | 30.39 | 9.82 |  | 6.55 | 71.93% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 12 | 30.79 | 9.66 |  | 4.87 | 53.43% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 15 | 31.11 | 9.56 |  | 4.67 | 51.23% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 20 | 31.54 | 9.42 |  | 3.84 | 42.11% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 25 | 31.8 | 9.29 |  | 3.2 | 35.04% | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 30 | [5 empty] | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 4 | PAPP2 | 2022-06-09 | 9:40 | PDT | 35 | [5 empty] | 2022-06-09 09:40 | Polly: Cloudy; Rain; Calm waters; No wind No Winklers due to weather | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 0 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 1 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 2 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 3 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 4 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 5 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 6 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 7 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 8 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 9 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 10 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 12 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 15 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 20 |  | #REF! |  |  |  | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 25 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 30 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 35 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 40 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 45 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
PY5901 | 901 | 5 | PA05 | 2022-06-09 | 9:45 | PDT | 50 | [5 empty] | 2022-06-09 09:45 | 5KM: Cloudy; Rain; Calm waters; No wind Ashley & Dylan Using charter boat (Greg Pilgrim) No 5km due to time contraints | Eureka Manta 2
Formulas:
DateTime = [SampleTime]+[Time]

## Extra Sites (hidden)
CATALYST PAPER - Port Alberni Division
2015-09-09
5km Center | [6 empty] | Profile 3: North of Polly's Point 2
Depth | Salinity | Temp. |  | D.O.Corrected |  |  | Depth | Salinity | Temp. |  | D.O.Corrected |  | Winklers | Winklers
(meters) | ppt | °C | pH | mg/L | % Sat. |  | (meters) | ppt | °C | pH | mg/L | % Sat. | mg/L | +/-
River: |  |  |  |  | 0% |  | River: |  |  |  |  | 0%
0 |  |  |  |  | 0% |  | 0 |  |  |  |  | 0% | -
1 |  |  |  |  | 0% |  | 1 |  |  |  |  | 0%
2 |  |  |  |  | 0% |  | 2 |  |  |  |  | 0%
3 |  |  |  |  | 0% |  | 3 |  |  |  |  | 0% | -
4 |  |  |  |  | 0% |  | 4 |  |  |  |  | 0% | -
5 |  |  |  |  | 0% |  | 5 |  |  |  |  | 0% | -
6 |  |  |  |  | 0% |  | 6 |  |  |  |  | 0% | -
7 |  |  |  |  | 0% |  | 7 |  |  |  |  | 0% | -
8 |  |  |  |  | 0% |  | 8 |  |  |  |  | 0% | -
9 |  |  |  |  | 0% |  | 9 |  |  |  |  | 0% | -
10 |  |  |  |  | 0% |  | 10 |  |  |  |  | 0%
12 |  |  |  |  | 0% |  | 12 |  |  |  |  | 0% | -
15 |  |  |  |  | 0% |  | 15 |  |  |  |  | 0% | -
20 |  |  |  |  | 0% |  | 20 |  |  |  |  | 0%
25 |  |  |  |  | 0% |  | 25 |  |  |  |  | 0%
30 |  |  |  |  | 0% |  | *28.4 |  |  |  |  | 0% | - | 0%
*35 |  |  |  |  | 0% |  | 35 |  |  |  |  | 0% |  | 0%
40 |  |  |  |  | 0% |  | *Bottom
45 |  |  |  |  | 0% |  | Sample Time: | 09:30 PDT
*End of cable |  |  |  |  | 0% |  | Comments: | Overcast, slight chop, southerly
Sample Time: | 00:00 PDT | [6 empty] | At anchor
Comments:
Kate and Ashley
At anchor
Profile 2: East of Hohm Island 2
Profile 1: Between Outfall and Hohm Island 2 | [6 empty] | Depth | Salinity | Temp. |  | D.O.Corrected |  | Winklers | Winklers
Depth | Salinity | Temp. |  | D.O.Corrected |  |  | (meters) | ppt | °C | pH | mg/L | % Sat. | mg/L | +/-
(meters) | ppt | °C | pH | mg/L | % Sat. |  | River: |  |  |  |  | 0%
River: |  |  |  |  | 0% |  | 0 |  |  |  |  | 0% | -
0 |  |  |  |  | 0% |  | 1 |  |  |  |  | 0% |  | 0
1 |  |  |  |  | 0% |  | 2 |  |  |  |  | 0% | -
2 |  |  |  |  | 0% |  | 3 |  |  |  |  | 0% | -
3 |  |  |  |  | 0% |  | 4 |  |  |  |  | 0% | -
4 |  |  |  |  | 0% |  | 5 |  |  |  |  | 0%
5 |  |  |  |  | 0% |  | 6 |  |  |  |  | 0% | -
6 |  |  |  |  | 0% |  | 7 |  |  |  |  | 0% |  | 0
7 |  |  |  |  | 0% |  | 8 |  |  |  |  | 0% | -
8 |  |  |  |  | 0% |  | 9 |  |  |  |  | 0% | -
9 |  |  |  |  | 0% |  | 10 |  |  |  |  | 0% |  | 0
10 |  |  |  |  | 0% |  | 12 |  |  |  |  | 0% | -
*12 |  |  |  |  | 0% |  | 15 |  |  |  |  | 0% |  | 0
15m |  |  |  |  | 0% |  | *17.4 |  |  |  |  | 0% |  | 0
[7 empty] | 25m |  |  |  |  | 0% | -
*Bottom | [6 empty] | *Bottom | [5 empty] | - | 0%
Sample Time: | 11:10 Hrs PDT | [5 empty] | Sample Time: | 10:55 pm Hrs PDT | [5 empty] | 0%
Comments: | Clearing, slight chop, slight southerly | [5 empty] | Comments: | Overcast, slight chop, slight southerly
[5 empty] | High Tide: | 2.6m @ 10:21Hrs PST
[5 empty] | Low Tide: | 1.3m @ 15:58Hrs PST
[5 empty] | Somass Flow: | 29
[5 empty] | Meter Used: | SVR4a & Sonde 4a
Tides: | 11.1 | ft | 5.6 | ft
| 0.3048 | factor | 0.3048 | factor
| 3.3833 | m | 1.7069 | m
|  | Secchi Disk: | na
*end of rope
*44.1
*end of rope
*end of rope